## Sheet1
GRAND VILLA MENTONE AGED CARE
BLUELINE-ISM WIRELESS NURSE CALL SYSTEM - REV 3 26/10/16
1. CENTRAL CONTROL EQUIPMENT
Item | Part Number | Description | Qty | Price Each (AU) | Price Total (AU) | CAT REF No | COMMENTS
1 | N-SMARTCOM-M2M | SmartCom-5 mini Computer including embedded Windows 7 Prof & Winwatch Nurse Call Program | 1 | 1530 | 1530
2 | N-BLUERAD-WIC-01 | Headend Wireless input Controller | 1 | 950 | 950
3 | N-NPS1-3A | 12V 3.5A Regulated Pwr supply | 1 | 262 | 262
4 | N-BAT-03 | Sealed 7AH battery | 1 | 45 | 45
5 | N-MONITOR-17 | 17" Flat screen monitor with integral speakers | 1 | 304 | 304 | 24.5 | Can delete but recommended as it will act as a back-up to paging system
6 | N-MON-BRACKET | Bracket to attach monitor to the wall | 1 | 30 | 30
7 | N-SMARTCOM-ACC-01 | Keyboard & mouse | 1 | 44 | 44 |  | As above
8 | N-TX-4W-UHF-SAL | 4-Watt UHF Paging transmiter with encoder. | 1 | 1161 | 1161 |  | New Salcom 4W UHF transmitter with inbuilt POCSAG encoder
9 | N-ANT-UHF-FLEXI | UHF Rubber Ducky Paging Antenna | 1 | 45 | 45 |  | Selected best range antenna
10 | A-PAGER 7950-UHF | 4 Line Alphnumeric UHF Pager | 3 | 250 | 750 |  | Can probably reuse existing pagers and delete this item
11 | N-EQUIP-CAB-01 | For Headend Equipment - Wall mountable equipment cabinet with lock H440mm x W310mm x D110mm | 1 | 136.5 | 136.5 | N/A
12 | Extended Warranty | Adds another 2 years to Manufacturers 12 month warranty period. Labour fees not included. | 1 | 550 | 550
13 | INSTALL | Install, commission program and test all of the above items in work shop - ex works | 1 | 500 | 500 | N/A | To assemble and test Head End equipment as a Plug-and-Play facility within a 9RU Cabinet with lockable glass front door
TOTAL FOR CENTRAL CONTROL EQUIPMENT |  |  |  |  | 6307.5
2. CALL POINTS & LOCAL NODE TRANSCEIVERS
Item | Part Number | Description | Qty | Price Each (AU) | Price Total (AU) | CAT REF No | COMMENTS
1 | N-CPRISM-H3-PC-04 | Wireless call-point with Call, Cancel, Assist and 6.3mm Pendant socket | 42 | 110 | 4620 | 19.2 | Includes up to 7 additional and identifiable slave inputs from Ensuite and/or bedside accessories. Can include wireless trigger module if externally powered (but not battery powered)
2 | N-CPRISM-H3-XX-04 | Wireless call-point with Call, Cancel, Assist - No Pendant socket for ensuite beside toilet. | 42 | 110 | 4620
3 | A-BARREL-GRIP-3M | Standard over bed Cord Pendant | 42 | 39 | 1638
4 | N-BLUERAD-NODE-AC | Area Node to receive and re-transmit RF signals - ONLY IF REQUIRED | 1 | 380 | 380 |  | This item is included as a contingency in case there is a wireless coverage problem
5 | A-FLOORMAT-01 | Portable floor sensor mat - Hard wired - Connects to bediside call point | 5 | 195 | 975
6 | A-ADAP-02 | Double adaptor allows pendant cord and floor mat to both connect to bedside call point | 5 | 33 | 165
7 | A-BP-PET-900-01 | As above but using 900Mhz for communication direct to Nodes | 0 | 98 | 0 |  | Not availlable until EARLY 2017
TOTAL ROOM & COMMUNAL CALL POINTS & ACCESSORIES |  |  |  |  | 12398
3. INSTALLATION
INSTALL B Y A&P Communications |  |  |  |  | 1050
TOTAL COST FOR NURSE CALL SYSTEM (EXCLUDING GST) |  |  |  |  | 19755.5
NOTE: SELECTION OF OPTIONAL ITEMS MAY INCUR ADDITIONAL INSTALLATION COSTS
4. DISPLAY FACILITES
Item | Part Number | Description | Qty | Price Each (AU) | Price Total (AU) | CAT REF No | COMMENTS
3 | N-WAC- 07 | Annunciator System Controller - Required if annunciators are being used | 1 | 916 | 916 | 18.6 | Add a starswitch if cabling to go in different directions - cheaper than runing a loop-through single cable run. Not otherwise allowed to branch or star cable without Starswitch unit
4 | BESTLITE-16-DS | Double Sided 50mm character 16 segment Annunciator Display | 1 | 1145 | 1145 |  | 8-Segment versions also available
5 | BESTLITE-16-SS | Single sided 50mm character 16 segment Annunciator Display | 1 | 798 | 789
6 | N-BESTLITE-PP-3.5A | Special Filtered Plug-pack power supplies for above Displays | 1 | 69 | 69 |  | Ok to use these special plug-packs if paging and/or DECT phones are also included in system as one provides a back-up for the others
TOTAL ROOM & COMMUNAL CALL POINTS & ACCESSORIES
5. PORTABLE PENDANT DEVICES - SOON TO BE AVAILABLE
Item | Part Number | Description | Qty | Price Each | Price Total
1 | A-BP-PET-900-01 | As above but using 900Mhz for communication direct to Nodes | Ea | 98 | 98 |  | Availlable EARLY 2017
2 | A-BP-PET-900-02 | As above but with magnet trigger of Cancel and Assist (Future release) | Ea | 98 | 98 |  | Available mid 2017
TOTAL COST FOR NORMAL OVERDOOR LED FUNCTIONS
Conditions of Sale
1 | Currency | Prices are in Dollars (Aust) FOB Melbourne packed for road freight (Sea freight packing at extra cost)
2 | Delivery | Typically 3 weeks Ex works from date of acceptance of order
3 | Deposit | A 35% Deposit will be required with purchase order - or by negotiation
4 | Warranty | Manufacturer's standard 12 month warranty applies except where otherwise advised
5 | Extended Warranty | At Smart-Caller's descretion Manufacturer's warranty may be extended to 2 years subject to payment of annual $550 remote access fee. Access mandatory for any warranty
6 | Payment | Payment terms - 30 days from the end of the month of date of invoice - or - Payment for off shore (overseas) supply will be due prior to shipment
7 | Quantities | Quantities are based on Specification and answers to specification as shown in BOM
8 | Extent of Offer | This offer is limited to items as specifically appearing within this BOM - or as specifically agreed or varied within the answers to specifications
9 | Union Site Costs | No amount has been included for any Union site obligations
10 | Working Hours | All installation and commissioning work is based on normal working hours with unrestricted
11 | Make Good' | All general building 'Make-Good' requirements shall be carried out by and at the responsibility of the builder
12 | 240V GPO Requirements | 240v outlets or other 240v requirements shall be the responsability of the electrical contractor.
13 | Contractor Conditions | This offer is based on the sub contractor provisions applicable under Standard AS4300/3
14 | Validity | This offer is valid for a period of 90 days hereof and is thereafter subject to adjustment